# SEWER                                 USE

ORDINANCE

## TOWN   OF

NORWAY, MAINE

DATE ADOPTED:  11/17/2016 .

SEWER USE ORDINANCE TABLE OF CONTENTS

Article I	Purpose, Authority. Scope and Intent

Article II	Definitions

Article III	Use of Public Sewers Required

Article IV	Building Sewers and Connections

Article V	Use of Public Sewer

Article VI	Protection from Damage

Article VII	Power and Authority of Inspectors

Article VIII	Sewer Service Charge

Article XIV      Penalties

Article XV	Appeals

Article XVI	Effective Date

Appendix A       Permit fees

Appendix B      Abatement Policy

Appendix C       Subtractive Meters

Sewer Connection permit

Sewer Disconnect Application

Abatement Application

ARTICLE I

PURPOSE, AUTHORITY, SCOPE AND INTENT

Sec. 1: This Ordinance shall be known and may be cited as the “Town of Norway sewer use Ordinance” and will be referred to herein as “this Ordinance.”

Sec. 2: The purpose of this Ordinance is to promote the health, comfort, public convenience and general welfare of the citizens of the Town of Norway by eliminating existing pollution, preventing further pollution and controlling the sewerage system through regulations and restrictions. This Ordinance shall restrict and regulate the accumulation, transportation, treatment and disposal of sewage in such a manner that the creation of any sewerage system, whether public or private, industrial or residential, shall not result in pollution, health hazards or other nuisances for the citizens of the Town of Norway.

Sec.3: This Ordinance contains the rules and regulations adopted by Municipal Officers to govern the Norway wastewater department under the authority granted in Title 30-A, M.R.S.A. 5410-5415, 3401-3409, 3421-3428 and 3442-3445as amended; and in all other applicable state statutes. The board of selectmen, being the Municipal officers of the Town of Norway, shall have the authority granted under these provisions to administer, enforce, amend or repeal this Ordinance, or any clause or provision thereof: as may be necessary or desirable, in the judgment of the board of selectmen, for the efficient operation of any sewerage system.

Sec.4: This Ordinance shall completely supersede all other sewer ordinances enacted by the town of Norway prior to the date of the enactment of this ordinance, which other ordinances are hereby repealed, except as otherwise noted herein. Hereafter any person owning any building or structure within the town of Norway which is the source of sewage or industrial waste or who proposes to erect such building or structure shall conform to the requirements of this ordinance.

ARTICLE II

DEFINITIONS

Unless the context specifically indicates otherwise, the meaning of terms used in this Ordinance shall be as follows:

BOD: (Biochemical Oxygen Demand) shall mean the quantity of oxygen utilized in the biochemical oxidation of organic matter under standard laboratory procedure in five (5) days at 20 degrees Celsius, expressed in milligrams per liter.

Board of Selectmen: The duly elected Board of Selectmen of the Town of Norway.

Building: Any structure arranged, designed, intended or used for the shelter, housing or enclosure of persons, animals, processes, equipment or property of any kind.

Building Drain: That part of the lowest horizontal piping of a drainage system that receives the discharge from soil, waste and other drainage pipes inside walls of the building and conveys it to the building sewer. The building drain extends eight (8) feet outside the inner face of the building wall.

Building Sewer or Building Connection: The extension from the building drain to the public sewer or other place of disposal

Change of Use: The changes from an existing use to another use, including without limitation, the addition of a new use to an existing use.

Combined Sewer: A sewer intended to receive both wastewater and storm or surface water.

Easement: Acquired legal right for the specific use of land owned by others.

Floatable Oil: Oil, fat or grease in a physical states such that it will separate by gravity from wastewater by treatment in an approved pretreatment facility. Wastewater shall be considered free of floating oil if it is properly pretreated and the wastewater doses not interfere with the collection system

Sewage: A combination of the water-carried wastes from residences, business buildings,     Institutions, and industrial establishments.

Sewage Works: Facilities for collecting, pumping, treating, and disposing of sewage.

Sewer: A pipe or conduit for carrying sewage.

Sewer Extension: Any addition to the public sewers of the Town of Norway whether located in a public way or on private property and whether constructed at public or private expense. Provided that the term “sewer extension” shall not include building sewers and connections governed.

Slug: Any discharge of water, sewage, or industrial waste which, in concentration of any given constituent or in quantity of flow, exceeds for any period of duration longer than fifteen (15) minutes more than two (2) times the average twenty-four (24) hour concentration of flows during normal operation,

Storm Drain or ‘Storm Sewer: A sewer, which carries storm and surface waters and drainage, exclusive of sewage and industrial wastes other than, unpolluted cooling water.

Superintendent: The Superintendent of the wastewater Control Facilities of the Town of Norway or his duly authorized deputy, agent, representative or inspector.

Suspended Solids: Solids that either float on the surface of, or are in suspension in water, sewage, or other liquids, which are removable by laboratory filtering as prescribed in “Standard Methods for the Examination of Waste and Wastewater” published by the American Public Health Association and referred to as non-filterable residue.

Town:  Town of Norway, County of Oxford, State of Maine.

Watercourse: A channel in which a flow of water occurs, either continuously or intermittently.

Water Pollution Control Facility: The arrangement of devices and structures used for treating sewage and sludge.

Owner: The person or persons, natural or corporate, in whom for the time being title is vested           in real property situated in the town.

Person: Any individual, firm, company, association, society, corporation or group.

PH: The logarithm of the reciprocal of the weight of hydrogen ions in grams per liter of solution.

Public Sewer: common sewer in which all owners of abutting properties have equal rights and is controlled by public authority. The term “public sewer” shall include the Town of Norway Wastewater Treatment Plant and Public Sewer System.

Pollutant: shall include but is not limited to dredged spoil, solid waste, junk, sewage sludge, munitions, chemicals, biological or radiological materials, oil, petroleum products or by-products, heat, wrecked or discarded equipment; rock, sand, dirt’, and industrial, municipal, domestic, commercial, or agricultural waste of any kind.

Sanitary Sewer: A sewer, which carries sewage and to which storm, surface, and ground waters are not intentionally admitted.

Garbage Properly Shredded: The waste from the preparation, cooking and dispensing of foods that have been shredded to such a degree that all particles will be carried freely under the flow conditions normally prevailing in public sewers, with no particle greater than one-half inch (1/2) in any dimension.

Industrial Waste: The liquid waste from industrial manufacturing processes, trade, or business as distinct from sanitary sewage.

ARTICLE III

USE 0F PUBLIC SEWERS REQUIRED

Sec. 1: It shall be unlawful for any person to place, deposit, or permit to be deposited in any unsanitary manner on public or private property within the Town or in any area under the jurisdiction of said Town, any human or animal excrement, garbage, or other waste constituting a hazard to health. Exceptions may be granted by the Selectmen to owner or lessee acting in the normal course of farm or garden operations.

Sec. 2: It shall be unlawful for any person to discharge to any natural outlet in any area under the jurisdiction of the Town any sewage or other polluted water, except where suitable treatment has been provided in accordance with this Ordinance and/or any other applicable laws, rules or regulations.

Sec. 3: It shall be unlawful for any person to construct or use any privy, privy vault, septic tank, cesspool or other facility intended or used for the disposal of sewage, if at the time such person is required by Section 4 of this Article to connect toilet facilities in or on his property with a public sanitary sewer.

Sec. 4: Every building intended for human habitation, occupancy, employment, recreation or any other purpose situated within the Town shall be provided with suitable and sufficient sanitary facilities for the use of the occupants thereof. Said facilities in character, number and method of installation shall comply with all applicable laws rules and regulations including, but not limited to ordinances of the Town, health laws of the State of Maine and rules and regulations of the State Bureau of Health so far as the same are compatible and not inconsistent. In the event any such laws, rules, and regulations are inconsistent, the stricter provision (s) shall apply.

Sec. 5: The owner of any house, building or other structures used for human occupancy employment, recreation or other purpose, which is situated within the Town and on land that has frontage abutting street, alley or right-of-way containing a public sanitary sewer of the Town provided any part of the foundation thereof is within two hundred (200) feet of such public sanitary sewer, or is otherwise required by the State Plumbing Code for the State of Maine to do so, is hereby required at the property owner’s own expense to connect the suitable sanitary facilities as described in  Section 4 above, directly with such public sanitary sewer in accordance with this Ordinance within ninety (90) days after date of official notice to do so. The requirement set forth in this section shall be subject to the availability of sewer capacity as determined by the Sewer Superintendent, or Selectmen, as the case may be according to the terms of this Ordinance.

ARTICLE IV

BUILDING SEWERS AND CONNECTIONS

Sec. 1: No unauthorized person shall uncover, make any connections with or opening into, use, alter, or disturb any public sewer or appurtenance thereof without first obtaining a written permit from the Superintendent. Any person proposing a new discharge into the system or a substantial change in The volume or character of pollutants that are being discharged into the system shall notify the Superintendent at least thirty days (30) days prior to the proposed change or connection and shall comply with Maine Revised Statutes Annotated, Title 38, Chapter 3. Subchapter I, Subsection 361, as amended.

Sec. 2: There shall be two (2) classes of building sewer permits: (a) for residential and commercial service, and (b) for service to establishments producing industrial wastes. In either case, the owner or his agent shall make application on a special form finished by the Superintendent. The permit application shall be supplemented by any plans, specifications, or other information considered pertinent in the judgment of the Superintendent. A permit and inspection fee for residential or commercial building sewer permit shall be paid to the town at the time the application is filed.

Sec. 3: All cost and expense incident to the installation and connection of the building sewer shall be borne by the owner. The owner shall indemnify the Town from any loss or damage that may directly or indirectly be occasioned by the installation of the building sewer.

Sec. 4: A separate and independent building sewer shall be provided for every building requiring a sewer connection, except that where one building stands at the rear of another on an interior lot and no private sewer is available or can be constructed to the rear building through an adjoining alley, court yard, or driveway, the building sewer from the front building may be extended to the rear building and the whole considered as one building sewer. A deed restriction shall be placed on both properties stating that they have joint ownership in the sewer connection and will maintain it jointly; and the owners of both properties shall be jointly and severally liable for any cost or expense of installation and connection.

Sec. 5: Old building sewers may be used in connection with new buildings only when they are found, on examination and test by the Superintendent, to meet all requirements of this Ordinance. The owner shall pay for all cost for examination and testing.

Sec. 6: The size, slope, alignment, materials of construction of a building sewer, and the methods to, be used in excavating, placing the pipe, jointing, testing, and backfilling the trench, shall all conform to the requirements of the buildings and plumbing code or other applicable rules and regulations of the Town.

Sec. 7: Whenever possible, the building sewer shall be brought from the building at an elevation above the basement floor. In all buildings in which any building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such building drain shall be lifted by a grinder pump and discharged to the building sewer.

Sec. 8: No person shall connect any roof downspout, exterior foundation drain, area drain, or other source of surface runoff or groundwater to a building sewer or building drain which in turn is connected directly or indirectly to a public sanitary sewer unless such connection is approved by the Superintendent for purposes of disposal of polluted surface drainage.

Sec. 9: The connection of the building sewer into the public sewer shall conform to the requirements of the building and plumbing code or other applicable rules and regulations of the Town. The connection of the building sewer into the public sewer shall be made at the curb if provided or at the “Y” branch if such branch is available at a suitable location. On direction of superintendent, where no “Y” branch is available, a neat hole shall be cut, by machine, into the public sewer to receive the building sewer, with entry in the downstream direction at an angle of forty-five (45) degrees with an approved saddle or clamp-type fitting. Such connection shall be completely watertight at the location specified by the Superintendent or his Designee (‘The Inspector’) and shall be completed under the supervision and in the presence of the Inspector, and as directed by and to the satisfaction of the Inspector.

Sec. 10: The applicant for the building sewer permit shall notify the Superintendent twenty-four (24) hours before the building sewer is ready for inspection and connection to the public sewer. All inspections shall be performed during regular working hours. Any inspections requested after the regular working hours or on weekends will be assessed an additional inspection fee of one and one-half (1.5) times the Inspector’s normal rate and any other fees that may apply.

Sec. 11: All excavation for building sewer installation shall be adequately guarded with barricades and lights so as to protect the public from hazards. Streets, sidewalks, parkways, and/or other public property disturbed in the course of the work shall be restored in a manner satisfactory to the Town.

Sec. 12: When any building or other structure previously served by a connection to any public sewer or drain is demolished, destroyed abandoned or altered so that any drain or portion of an abandoned plumbing system which is directly or indirectly connected to any public sewer drain is no longer used and is not connected to the drainage system of the building or structure, the open end of such which discharged, directly into a public sewer or drain shall be promptly closed and sealed to the satisfaction of the Superintendent, so that no water or wastes not otherwise permitted to enter the public sewer or drain shall be discharge therein. The Superintendent shall be notified of such abandonment or discontinuance, and of the closing and sealing of such drain.

ARTICLE V

USE OF PUBLIC SEWERS

Sec. 1: No person shall discharge or cause to be discharged any storm water, surface waters, groundwater, roof runoff, subsurface drainage, uncontaminated cooling water, or unpolluted commercial or industrial process waters to any public sanitary sewer.

Sec. 2: Storm water and all other unpolluted drainage shall be discharged to such sewers as are specifically designated as storm water sewers, or to a natural outlet approved by the Maine DEP and the Superintendent. Industrial cooling water or unpolluted process water may be discharged, on approval of the Maine DEP and the Superintendent, to a storm sewer or natural outlet.

Sec. 3: No person shall discharge or cause to be discharged any of the following described waters or waste to any public sewers:

(A) Any gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, solid, or gas, which will create a fire or explosive hazard in the wastewater facilities.

(B) Any waters or wastes containing toxic or poisonous solids, liquids, or gases in sufficient quantity, either singly or in interaction with other wastes, to injure or interfere with any sewer treatment process, constitute a hazard to humans or animals, create a public nuisance, or create any hazard in the receiving waters of the sewage treatment plant.

(C) Any water or waste having a pH lower than 6.0, or greater than 9.0 or having any other corrosive property capable of causing damage or hazard to structures, equipment, and personnel of the sewage works.

(D) Solids or viscous substances in quantities or of such size capable of causing obstruction to the flow in sewers, or other interference with the proper operation of the sewage works such as, but not limited to ashes, sand, mud, straw, shavings, metal, glass, rags, bones, feathers, tar, plastics, wood, -underground garbage, fibers, whole blood, paunch manure, hair and fleshing, paper, dishes, cups, milk containers, or other substances which are whole or ground by garbage grinders.

(E) Any waste or pollutants including oxygen-demanding pollutants (BOD, etc.) which released in quantities of flow or concentrations or both constitute a “slug:

(F) Any heated water or pollutants in amounts which will inhibit or interfere with biological activity in the wastewater treatment works but in no case heated water or pollutants in such quantities that the temperature at the wastewater treatment plant influent exceeds 140 degrees Fahrenheit (60) degrees Celsius); unless the wastewater treatment plant is designed to accommodate such heat.

Sec. 4: No person shall discharge or cause to be discharged the following described substances, materials, water, or waste if it appears likely in the opinion of the Superintendent that such waste may harm the sewers, sewage treatment process, or equipment, have an adverse effect on the receiving streams, or may otherwise endanger life, limb, public property, or constitute a nuisance. In forming an opinion as to the acceptability of these wastes, the Superintendent shall consider such factors as the quantities of subject waste in relation to flows and velocities in the sewers, materials of construction of the sewers, nature of sewage treatment process, capacity of the wastewater treatment plant, degree of treat, ability of waste in the wastewater treatment plant, and other relevant factors.

Substances prohibited are:

- Any liquid or vapor having a temperature higher than one hundred four (140) degrees Fahrenheit (60 degrees Celsius).

(B)	Wastewater containing petroleum oil, non-biodegradable cutting oils, or products of mineral oil origin.

(C)	Any water or waste containing fats, wax, grease, or oils, whether emulsified or not

(D)	Garbage grinders are prohibited for the commercial users.

(E)	Any water or waste containing strong acid, iron, pickling waste, or concentrated plating solutions, whether neutralized or not.

(F)	Any waste or water containing iron, chromium, copper, zinc, and similar objectionable or toxic substances; or waste exerting an excessive chlorine residual to such a degree that any such material in the composite sewage at the wastewater treatment plant exceeds the limits established by the Superintendent for such materials.

(G) Any water or waste containing phenols or other taste or odor-producing substances, in such concentrations exceeding limit which may be established by the Superintendent as necessary, after treatment of the composite sewage, to meet the requirement of the State, federal, or other public agencies having jurisdiction over such discharge to any receiving waters.

(H)Any radioactive waste or isotopes of such half-life or concentration as may exceed limits established by the Superintendent in compliance with applicable State or Federal regulations.

(I)Any water or waste having a pH in excess of 9.0

(J)	Materials, which exert or cause:

- Unusual concentrations of inert suspended solids (such as, but not limited to, Fullers earth, lime slurries, and lime residues) or of dissolved solids (such as, but not limited to, sodium chloride and sodium sulfate).

- Excessive discoloration, such as, but not limited to, dye waste and vegetable tanning solutions.

- Unusual BOD, chemical oxygen demand, or chlorine requirements in such     quantities as to constitute a significant load on the wastewater treatment works.

- Unusual volume of flow or concentration of wastes constituting as a slug.

(K) Waters or waste containing substances which are not amenable to proper treatment or reduction by the Towns wastewater treatment process, or which would result in impermissible levels of phosphates and nitrates being discharged in the wastewater treatment plant effluent.

(L) Steam exhausts, boiler blow offs, sediment traps, or pipes earning hot circulating water.

Sec. 5: If any water or wastes are discharged, or are proposed to be discharged to the public sewer, when such waters contain the substances or possess the characteristics enumerated, and which in the judgment of the Superintendent may have detrimental effect upon the sewage works, processes, equipment, or receiving water, or which otherwise create a hazard to life or constitute a public nuisance, the Superintendent may:

- Reject the water:

- Require pretreatment to an acceptable condition for discharge to the public sewers.

- Require control over the quantities and rates of discharge; and/or

Require payment to cover the cost of handling and treating the waste not covered by existing sewer charges.

When considering the above alternatives, the Superintendent shall give consideration to the economic impact of each alternative on the discharger. If the Superintendent permits the pretreatment or equalization of waste flows, the design and installation of the pretreatment or equipment shall be subject to the review and approval of the Superintendent, and subject to the requirements of all applicable codes, ordinances, laws, and the municipal discharge permit.

Sec. 6: Grease, oil and sand interceptors shall be provided when in the opinion of the Superintendent, they are necessary for the proper handling of the liquid waste containing floatable grease or for any flammable waste, sand, other harmful ingredients; except that such interceptors shall not be required for private living quarters or dwelling units. All interceptors shall be of a type

And   capacity approved by the Superintendent, and shall be located as to be readily and easily accessible for cleaning and inspection. All new construction, and the remodeling of any old construction shall conform to the requirements of the Maine State Plumbing Code and the State of Maine Subsurface Wastewater Disposal Rules for grease and oil interceptors.

In maintaining these interceptors, the owner (s) shall be responsible for the proper removal and disposal by appropriate means of the captured material and shall maintain records of the dates and means of disposal, which are subject to review by the Superintendent. Any removal and hauling of the collected materials not performed by the owner (s) or the owner’s agent must be performed by currently licensed waste disposal firms.

Sec. 7: Where preliminary treatment or flow-equalizing facilities are provided for any water or wastes, the owner, at the owner’s expenses shall maintain them continuously in satisfactory and effective operation.

Sec. 8: When required by the Superintendent, the owner of any property serviced by a building sewer carrying commercial, industrial waste shall install a suitable manhole together with such necessary meters and other appurtenances in the building sewer to facilitate observation, sampling and measurement of the waste. Such manhole, if required, shall be accessible and safely located, and shall be constructed in accordance with plans approved by the Superintendent. The manhole shall be installed by the owner at the owner’s expense, and shall be maintained by the owner so as to be safe and accessible at all times.

Sec. 9: The Superintendent may require a user of the sewer services to provide information needed to determine compliance with this Ordinance. These requirements may include:

- Description of wastewaters discharged, together with peak rate and volume over a specified time period.

- Chemical analyses of wastewaters.

- Information on raw materials, processes, and products affecting wastewater volume and quality.

- Quantity and disposition of specific liquid, sludge, oil, solvents, or other materials important to sewer use control.

- A plot plan of sewers of the user’s property showing sewer and pretreatment facility location.

- Details of wastewater pretreatment facilities.

- Details of systems to prevent and control the losses of materials though spill to the municipal sewer.

Sec.10: All measurements, tests, and analyses of the characteristics of water and pollutants to which reference is made in this Ordinance shall be determined in accordance with the latest edition of “Standard Methods for the Examination of Water and Wastewater”, published by the American Public Health Association or other methods approved by the U.S. EPA and the Me. DEP, and shall be determined at the structure as required in or upon suitable samples taken at said structure. In the event that no special structure has been required, suitable samples shall be taken at the downstream manhole in the public sewer nearest to the point or origin. Sampling shall be carried out by customarily accepted methods to reflect the effect of constituents upon the wastewater facilities and to determine the existence of any hazard to life, limb, or property.

(A)	All industries discharging into a public sewer shall perform such monitoring of their discharges as the Superintendent and/or other duly authorized employees of the Town may reasonably require, including installation, use, and maintenance of monitoring equipment, keeping records and reporting the results of such monitoring to the Superintendent. The Superintendent shall make such records available upon request to other agencies having jurisdiction over discharges.

Sec 11: The municipality shall develop, and the Superintendent shall enforce pretreatment regulations for existing and new sources of pollution that are discharging or proposed to be discharged into the municipally owned wastewater treatment facilities as set forth in Title 40, Chapter 1, Part 128 and Part 403 of the Final Rules of the United States Environmental Protection Agency.

Sec. 12: Nothing in this Article shall be construed to prevent any agreement between the Town and any industrial concern whereby industrial waste of unusual strength or character may be accepted by the Town for treatment, subject to payment therefore, by the industrial concern; provided that such agreements do not contravene any requirement of existing Federal or State laws and/or regulations, and are compatible with any User Charge and Industrial Cost Recovery System in effect.

ARTICLE VI

PROTECTION FROM DAMAGE

Sec. 1: No person shall maliciously, willfully, or negligently break, damage, destroy, uncover, deface, or tamper with any structure, appurtenances, or equipment which is a part of the sewage works. Any person violating this provision shall be subject to immediate arrest under charge of criminal mischief as set forth in Maine Revised Statutes Annotated, Title 17-A, Chapter 33. Subsection 806 as amended as well as be subject to civil liability for reasonable costs to repair or replace the damaged structure or equipment including, without limitation, the Town’s reasonable costs and attorney’s fees.

ARTICLE VII

POWER AND AUTHORITY OF INSPECTORS

Sec. 1: The Superintendent, and other duly authorized representatives of the Town having proper credentials and identification, shall be permitted to enter all properties at all reasonable times upon reasonable notice for the purposes of inspection, observation, measurement, sampling, and testing in accordance with this Ordinance. The Superintendent and Town representative (s) shall have no authority to inquire about any commercial process, including metallurgical, chemical, oil, refining, ceramic, paper, or other process beyond that point having a direct bearing on the kind and source of discharge to the wastewater facilities. Such information shall be kept confidential upon the company’s establishing, to the satisfaction of the Superintendent, that the revelation to the public of the information in question might result in an advantage to competitors,

Sec. 2: The Superintendent and other duly authorized representatives of the Town having proper credentials and identification shall be permitted to enter all private properties through which the Town holds a duty negotiated easement for the purposes of; but not limited to, inspection, observation, measurement, sampling, repair, and maintenance of any portion of the sewerage works lying within said easement. All entry and subsequent work, if any, or property within said easement shall be done in fill accordance with the terms of the negotiated easement pertaining to the private property involved.

Sec.3: While performing the necessary work on private properties the Superintendent or authorized representative(s) of the town shall observe all the safety rules applicable to the premises established by the company. The Town shall hold the company harmless from any liability for injury or death to Town employees performing such work; and the Town shall indemnify & the company against loss or damage to the company’s property caused by Town employees and against liability claims for personal injury or property damage against the company arising out of any sampling operation, except as such may be caused by negligence or failure of the company to maintain safe conditions.

Sec.4: The sewer service charges assigned to any property owner who contributes a significant  quantity of industrial waste to the public sewers, or who contributes a combination of sewage and industrial waste to the public sewer, shall be determined on a block rate structure based on water consumption. The property owners to be charged in this manner will be determined by the Selectmen on a year-to-year basis.

Sec.5: A special sewer service charge shall be assigned to any commercial, industrial firm or organization who, by virtue of the volume, strength or unusual characteristics of their waste alone, would overload or upset the capacity or efficiency of the public sewer system or a part thereof if such waste entered the public sewer or whose waste disposal situation is such that it would be in the public interest to waive the requirements of Section 1.2, and 3 of this Article. The Selectman, after appropriate study and advice from the Superintendent, shall assign a special sewer service charge to such an entity by separate agreement with said entity. The applicable portions of the preceding section, as well as the equitable rights of the public, shall be the basis for such an arrangement.

Sec.6: The Superintendent reserves the right, from time to time, to change sewer service charges originally or previously assigned to any property owner.

Sec.7: Each sewer service charge levied pursuant to these rules and regulation is hereby made a lien on the premise& If said charge is not paid within thirty (30) days after it becomes due and payable, it shall be certified to the Town Manager who shall record notice of said lien with interest and penalties allowed by law in the Oxford, County Registry of Deeds.

Sec. 8: The charges and assessments levied pursuant to this Article shall be used consistently with the Clean Water Act, 33 U.S.C. e 1251 et seq., as amended, and all other applicable federal regulations.

Sec. 9: When a Sewer Connection Application is processed and a permit is issued, the owner of the property for which the application was issued will be billed for the units that were approved.

ARTICLE VIII

SEWER SERVICE CHARGE

Sec. 1: The source of a portion of the revenues for retiring debt service, capital expenditures, operation and maintenance of the public sewer system of the Town shall be a sewer service charge assigned to owners of property located within the limits of the Town whose property, residence, or place of business is capable of being tied into the sewer system pursuant to a portion of the funds collected pursuant to this Article shall be placed in a separate reserve fund for operation and maintenance, including replacement of public sewer system The contribution to the reserve fund shall be determined by the Selectman on a year- to-year basis.

Sec. 2: Sewer service charge rates shall be determined by the Selectman on a year- to- year basis The sewer service charge will be computed and billed at regular intervals though the calendar year, as established by the Selectman. In general, charges will be calculated on the following criteria:

(A) The total cost annually of operating and maintaining the sewer system will be from the water usage.

(B) One hundred percent (100%) of the cost annually necessary to retire the debt service will be from the unit charges.

Residential Dwelling Units:

As used in this ordinance it means owned or leased residences or apartments, including individual residential apartment in a multi-unit structure or apartment complex, whether or not water or sewer service to each apartment is separately metered. The term residential dwelling unit does not include boarding house, hotels, inns, motels, nursing homes, hospitals or similar uses.

The following schedule of unit charges:

Minimum charge:                                                             1 Unit charge

Single Family Dwelling                                                    l Unit charge

Multi- family Dwelling or condominium

Unit Per dwelling or condominium unit                           1 Unit charge

2 Hotel/ Motel rooms	        1 Unit charge

2 Boarding home Beds                                                      1 Unit charge

3 Hospital Beds                                                                 1 Unit charge

2 Nursing Home Beds                                                       1 Unit charge

15 Restaurant Seats	   1 Unit charge

1 Laundromat Machines	     1 Unit charge

Retail, Commercial and Industrial Business:

A unit rate per volume of discharge will be developed for each retail, commercial and industrial business. A business which produces 9759 cubic feet per year or less shall be considered as a single-family dwelling unit. The unit rate will be adjusted for usage over the 9759 cubic feet per year. Example a business uses 724064 gallons of metered water per year is divided by 7.48 gal/cubic feet. = 96800 cubic feet per year divided by 9759 cubic feet = 9.91 or 10 units for that business. Effluent discharge with high biochemical oxygen demand and suspended solids strength may require a payment to cover the cost of handling and treating the waste not covered by existing sewer charges.

ARTICLE XIV

PENALTIES

Sec. 1: Any person found to be violating any provision of this Ordinance, shall be served by the Sewer Superintendent with written notice stating the nature of the failure or violation and providing a reasonable time limit for the satisfactory correction or cessation thereof. The offender shall within the period of time stated in such notice permanently cease or correct all such failures or violations.

Sec. 2: Any violation which continues beyond the time limit set forth in a written notice to cease or correct the violation shall constitute a civil violation punishable by a fine of not less than one hundred dollars ($100.00) nor more than $2,500 for each violation. Each day a violation continues shall be considered a separate offense. Fines, costs, and attorney’s fees may be recovered as provided under 30-A M.R.S.A. § 4452.

Sec. 3: Any person violating any of these rules and regulations shall become liable to the Town for any expense, loss or damage caused to the Town by reason of such violation, including but not limited to costs and reasonable attorneys’ fees to enforce this Ordinance.

Sec. 4: Notwithstanding any of the foregoing provisions, the Town may institute any appropriate action including injunction or other proceeding to prevent, restrain, or abate a violation hereof.

Sec. 5: No permit for expansion of an existing facility shall be issued if there are outstanding sewer permit or connection fees unless and until satisfactory arrangement for payment of the same has been made with the Board of Selectmen.

ARTICLE XV

APPEALS

Sec.1: The Selectmen shall have the following powers and duties to be exercised only upon written appeal by a party aggrieved by a decision of the Superintendent, Plumbing Inspector and/or Town Health Officer, insofar as such decision arises from requirements of this Ordinance:

- To determine whether the decisions of these authorities are in conformity with the provisions of this Ordinance, and to interpret the meaning of this Ordinance in a case of uncertainty.

- To grant variances from the terms of this Ordinance where there is no substantial departure from the intent of this Ordinance and where necessary to avoid undue hardship. A projected expenditure of an amount exceeding fifteen (15) percent of the assessed value of the buildings on the land to be served by the public sewer shall be considered as prima facie evidence of undue hardship.

(C)	To permit an exception to this Ordinance only when the terms of the exception have been specifically set forth in this Ordinance.

Sec. 2: The Selectman shall schedule a hearing on each appeal under this Ordinance within sixty (60) days of receipt of a completed application. At least ten (10) days prior to the hearing the Town Clerk shall cause to be advertised in a newspaper of general circulation in the Town a notice of such appeal identifying the property involved, the nature of the appeal and the starting time and place of the public hearing on the appeal. Owners of properties within two hundred (200) feet of the property for which the appeal is made shall be notified by mail. Failure of any such owner to receive this notice shall not invalidate the proceeding herein prescribed.

The Selectmen shall not continue a hearing on an appeal except for good cause or by agreement of the appellant. Upon conclusion of the hearing and a determination by the Selectmen, written notice of the Selectmen’s decision shall be sent forthwith to the appellant and to the municipal employee or officer concerned. Failure of the Selectmen to issue such notice within thirty (30) days of the date the hearing concludes shall constitute a denial of said appeal.

Sec. 3: The procedure for instituting an appeal shall be as follows:

- Any person including any municipal department head aggrieved by a decision of the Superintendent, the Town Health Officer, and/or the Plumbing Inspector, which decision arises from interpretation or application of this Ordinance, may appeal such decision to the Selectmen.

(B)	Any such appeal must be filed with the Town Clerk within thirty (30) days of the date of the decision of the Superintendent, Health Officer, and/or Plumbing Inspector. Said appeal shall he filed upon forms to be approved by the Selectmen. The appellant shall set forth the grounds for appeal and shall refer to the specific provision of this Ordinance involved. Following the receipt of any appeal, the Town Clerk shall notify forthwith the employee or officer concerned and the Chairperson of the Board of Selectmen. The appellant shall pay to the Town Treasurer a fee of Twenty-five ($25.00) plus the cost of advertising and mailing notices.

(C) An aggrieved party may appeal any decision of the Selectmen to Superior Court as provided by the laws of the State of Maine.

Sec.4: After a decision on an appeal has been made by the Selectmen, a new appeal of similar import shall not be entertained to the Selectmen until one year shall have elapsed from the date of said decision, except that the Selectmen may entertain a new appeal if the Chairperson determines that, owing to a mistake of law or misunderstanding of fact, an injustice was done, or if the Chairperson determines that a change has taken place in some essential aspect of the appeal.

ARTICLE XVI

EFFECTIVE DATE

Sec. 1: This Ordinance shall be in full force and effect upon adoption by the Selectmen.

Passed and adopted by the Selectmen of the Town of Norway, County of Oxford, State of Maine on the                            day of__________________                 by the following votes:

Ayes                                 Namely                                            .

Nays                                  Namely                                             .

Signed:

.                                                                  .

.                                                                  .

.                                                                  .

.                                                                  .

.                                                                   .

.                                                                   .

Clerk:________________________________

APPENDIX A

Wastewater permits Fees

The fees cover work performed in preconstruction and submittal review, onsite inspection of work performed and general administrative cost. The fees do not cover the cost of testing and materials.

Permit type	Permit fee

A) Disconnect Building service at right of way.

$50.

B)	Mainline taps. Connecting all building service to town sewer.   $500.

For single family dwelling only Fee includes saddle or

Mechanical connection wyes.

C) Residential type, simplex, pump station	                        $100.

D) Duplex pump station	$350.

E) Force main installation, per 100 feet or less	$50.

F) Interior grease traps	$50.

G) Exterior grease, oil, sand separators	$100.

H) Manholes	$100.

I) Sewer mains, per 100 feet or less	$75.

APPENDIX B

Norway Sewer User Abatement Policy

Abatements forms are available at the town office. The board of selectmen shall consider abatements and a written decision shall be issued within thirty days of the application. All abatement granted shall not allow the minimum rate charge to be reduced below the set minimum rate.

Abatement request applications must be received ‘within 30 calendar days of the billing date of the disputed bill.

Wastewater, which did not enter the sewer system

Abatements of sewer use charges may be granted by the town of Norway upon application of a rate payer where the rate payer can demonstrate that a loss of water occurred due to no fault of the payer, his or her agents, or employees.

If in the opinion of the superintendent, the wastewater did not enter the collection system, and then the town will abate the difference between the current consumption value and the average of the last two year’s consumption for the same period.

Wastewater, which did enter the sewer system

Abatements shall not be granted for water that enters the sewer system and is treated at the wastewater treatment plant.

The town recognizes that a high sewer bill resulting from an accidental, unpreventable water release can present financial hardship to a customer. While most water release is preventable, there are certain circumstances when an accidental water release cannot be reasonably prevented. If upon financial hardship the town may abate up to 50% of the consumption for water entering the sewer system.

APPENDIX C

Subtractive meters

How you can stop paying sewer fees for water that doesn’t enter the sewer system:

The Town of Norway wastewater allows the use of subtractive water meters to record water that does not enter the Towns sewer system. So water that is used for watering lawns, washing vehicles, and filling swimming pools can be subtracted from your sewer bill.

A water meter sold by the town can be installed in any lines that do not enter the sewer. The customer reads the meters once a year and the volume that went through the meter will be credited to your account.

What to do:

- Call the wastewater dept. @ 743-5304

- Schedule a pre-installation inspection

- Purchase a 5/8” meter from the wastewater dept. at current pricing

- Have the meter installed in the agreed to location by your contractor.

- Then call for a post inspection certification.

# How to get credit

Simply call in the meter reading with your account number every fall to 743-6651 ask for sewer billing. The amount recorded on the meter will be applied as a credit on your next sewer bill.

# For swimming pools

The wastewater dept. has portable 5/8” meters at the town office for the filling of pools they must be picked up and returned back to the town office. The amount recorded on the meter will be applied as a credit on your next sewer bill.

Connection Permit

Town of Norway Wastewater

Application for Wastewater

Services

Application Date:______________________Permit Number: _____________________

Address for sewer Connection:_______________________________________________

Property Owner’s Name:___________________________________________________

Street Address:___________________________________________________________

City:__________________State:___________________Zip:_______________________

Telephone Number:_______________________________________________________

Contractor to perform proposed work:________________________________________

Telephone Number:_______________________________________________________

The Property is (check one)

- ______New Residential Construction, single family____ or multi-family_____

- _____New Commercial or Industrial Construction with an estimated water usage of____________ gallons a day.

- _____Existing Residential Structure, Expanding From _____unit’s to_____unit’s

The conversion from residential to apartment (s) or to commercial

Explain:____________________________________________________

___________________________________________________________

The undersigned herby agrees to abide by all rules, regulations, and ordinances governing the Town of Norway Wastewater currently in existence or as amended.

Applicant Signature: ____________________________________

Fee must be paid before Permit is issued.

Connection Fee Amount: ___________________ Date Paid: _______________

Inspected & Approved by: _______________________Date:______________

Notify the Superintendent when the building sewer is ready for inspection @ 743-5304 or 890-8473

TOWN OF NORWAY WASTEWATER

SEWER DISCONNECT APPLICATION

Customer Name:___________________________________________________

Customer Account Number:_________________________________________

Disconnect Service Address:_________________________________________

Date For Disconnecting Service:______________________________________

For Office Use Only:

Meter Final Reading:____________________________

Account Final Bill:$_____________________________

Disconnection Information

Permit fee of $50.00 to disconnect building service at right of way.

When any building or other structure previously served by a connection to any public sewer is demolished, destroyed abandoned or altered so that any drain or portion of an abandoned drainage system of the building or structure shell be promptly closed and sealed to the satisfaction of the Superintendent.  A 24-hour notice must be giving to the Superintendent for an onsite inspection.

Forwarding Address Information

Forwarding Mail Address:_____________________________________________

City:____________________State:________________Zip Code:_______________

Daytime Phone:________________________________Cell:#_________________

Sinature:___________________________________Date:_____________________

I UNDERSTAND THAT I AM FINANCIALLY RESPONSIBLE FOR THE ABOVE NOTED ACCOUNT. I UNDERSTAND THAT I WILL RECEIVE A FINAL BILL FOR THIS ACCOUNT AND MUST PAY ANY BALANCE DUE TO THE TOWN OF NORWAY WASTEWATER DEPARTMENT.

Mail/fax completed from to: Town of Norway Wastewater 19 Danforth St. Norway ME. 04268 or fax (207) 743-5307, For Questions you can reach customer service by phone at (207) 743-6651.

TOWN OF NORWAY

APPLICATION FOR SEWER ABATEMENT

Date:_____________                                                                Application Number:_________

Account Number:_________

Customer Name:________________________________Phone#____________

Mailing Address:___________________________________________________

Contact Person:_________________________________Phone #_____________

Property Address:______________________________________________________

Mailing Address:_______________________________________________________

Reason for sewer Abatement:_______________________________________________

_______________________________________________________________________

________________________________________________________________________

Signature of Applicant:___________________________________.Date:_____________

For Abatements of water volumes caused by leaks that were Not discharged to the sewer. This includes leaks on outdoor water pipes or pipes prior to plumbing fixtures. This does not include leaking toilet valves or faucets.

Office use only:

Account #:_________________ Date of bill:_______________ Billing period from:_________to________

Amount of bill:____________________ Amount of abatement:__________________________

Reviewed by:__________________________Date:____________________________

Comments:_____________________________________________________________

_______________________________________________________________________

Recommendation: Approve:________ Denied:_________ Amount:______________

Norway Select-board chair signature:

________________________________Date:__________________

Approved: _________Denied:__________